NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

| 1. | Notifying Member: Singapore If applicable, name of local government involved (Article 3.2 and 7.2): |  |  |
| --- | --- | --- | --- |
| 2. | Agency responsible: National Environment Agency Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: |  |  |
| 3. | Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], other: |  |  |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): HS: 8415 10xx: Single-phase non-ducted room air-conditioner namely an encased assembly or assemblies of one or more evaporators, compressors and condensers, designed to be used together as a permanently-installed piece of equipment to provide conditioned air to any enclosed space. It includes a prime source of refrigeration for cooling and dehumidification and may include other means for dehumidifying, circulating and cleaning the air in the enclosed space. It includes one or more evaporators, compressors and condensers. Such equipment may be provided in more than one assembly, the separate assemblies of which are intended to be used together. Single-phase non-ducted air-conditioner having a total cooling capacity of: (i) 8.8kW or lower, in the case of casement or window type air-conditioner1; (ii) 17.6kW or lower, in the case of split type air-conditioner2 employing technologies that control the output of the compressor by start-stop operation; or (iii) 17.6kW or lower, in the case of split type air-conditioner2 employing technologies that vary the output of the compressor, by means other than start-stop operation. 1. Casement or window type air-conditioner refers to a factory assembly of components of a refrigeration system fixed on a common mounting to form a single unit. 2. Split type air-conditioner refers to an assembly of components of a refrigeration system fixed on 2 or more mountings to form a matched functional unit. HS: 8418 1010, 8418 2100: Single-phase refrigerator namely a self-contained an assembly consisting of a thermally insulated cabinet for the storage and preservation of foodstuff above 0°C (32ºF) and a refrigerating unit operating on the vapour compression principle and arranged to extract heat from within the cabinet, whether or not one or more freezer compartment with an adjusted volume of up to 900 litres. The adjusted volume of the single-phase refrigerator, means the sum of the adjusted volumes of the compartments or sections of the refrigerator, where the adjusted volume of a compartment or section is the product of the rated volume of that compartment or section and the corresponding volume correction factor (K) indicated below: - Fresh Food Compartment/Section Type: K = 1.00; - Freezer Compartment/Section Type: K = 1.79; - Freezer Compartment/Section Type: K = 1.79; - Freezer Compartment/Section Type: K = 1.57; - Freezer Compartment/Section Type: K = 1.36; - Chill Compartment/Section Type: K = 1.13; - Cellar Compartment/Section Type: K = 0.75. The compartment/section types are defined in accordance with Section 3.3 of the standard ISO 15502:2005 of the International Organization for Standardization. |  |  |
| 5. | Title, number of pages and language(s) of the notified document: i The Environmental Protection and Management Act (in English), available online at: http://statutes.agc.gov.sg/ ii The Environmental Protection and Management (Registrable Goods) Order (2 pages, in English) iii The Environmental Protection and Management (Energy Conservation) Regulations (8 pages, in English). |  |  |
| 6. | Description of content: The existing Environmental Protection and Management Act, Environmental Protection and Management (Registrable Goods) Order and Environmental Protection and Management (Energy Conservation) Regulations will be amended to i) extend the scope of registrable air-conditioners; and ii) to raise minimum energy efficiency standards for registrable air-conditioners and refrigerators supplied in Singapore from 1 September 2013. The existing legislation will be ported over to Energy Conservation Act from 1 September 2013. Single-phase non-ducted split type of air-conditioner employing technologies that vary the output of the compressor, by means other than start-stop operation, and with cooling capacity 10kW or lower are registrable goods. From 1 September 2013 onwards, air-conditioners of this category up to a cooling capacity of 17.6kW will be registrable. From 1 Sep 2013 onwards, all registrable air-conditioners and refrigerators supplied in Singapore must comply with new minimum energy efficiency standards specified below: (i) For casement and window type air-conditioners, the Coefficient Of Performance (COP) ≥2.90. (ii) For split type (non-inverter) air-conditioners with one indoor unit (cooling capacity less than 10kW), the COP ≥ 3.34. (iii) For split type (non-inverter) air-conditioners with one indoor unit (cooling capacity equal to or more than 10kW), the COP ≥ 2.78. (iv) For split type (non-inverter) air-conditioners with more than one indoor unit (cooling capacity less than 10kW), the COP ≥ 3.34. (v) For split type (non-inverter) air-conditioners with more than one indoor unit (cooling capacity equal to or more than 10kW), the COP ≥ 2.64. (vi) For split type (inverter) air conditioners with one indoor unit (cooling capacity less than 10kW), the COP ≥ 3.06 and weighted COP3 ≥ 3.34. (vii) For split type (inverter) air conditioners with one indoor unit (cooling capacity equal to or more than 10kW), the weighted COP3 ≥ 2.78. (viii) For split type (inverter) air-conditioner with more than one indoor unit (cooling capacity less than 10kW), the COP ≥ 3.06 and weighted COP3 ≥ 3.34. (ix) For split type (inverter) air-conditioner with more than one indoor unit (cooling capacity equal to or more than 10kW), the weighted COP3 ≥ 2.64. (x) For refrigerator without freezer, the Annual Energy Consumption in kWh (AEC) ≤ (368 + 0.892 x Vadj tot) x 0.640. (xi) For refrigerator with freezer, the AEC ≤ (465 + 1.378 x Vadj tot) x 0.585. (xii) For refrigerator with freezer and through-the-door ice dispenser, the AEC ≤ (585 + 1.378 x Vadj tot) x 0.560. 3 Weighted COP means the sum of 0.4 x COP at full-load cooling capacity and 0.6 x COP at part-load cooling capacity. |  |  |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: For the purposes of environmental protection & conservation. Rationale: Air-conditioners and refrigerators that are not energy-efficient consume more energy to operate and lead to higher emissions of greenhouse gases. |  |  |
| 8. | Relevant documents: Notice will be published in the Republic of Singapore's Government Gazette when adopted. |  |  |
| 9. | Proposed date of adoption: Proposed date of entry into force: |  | Notice will be published prior to the date of entry into force 1 September 2013 |
| 10. | Final date for comments: 60 days from the date of notification |  |  |
| 11. | Text available from: National enquiry point [X], or address, telephone and fax numbers, e-mail and web-site addresses, if available of the other body: Mr Long Lian Ming Senior Manager, Energy Efficiency & Conservation Department 40 Scotts Road, #11-00 Environment Building Singapore 228231 Tel.: (65) 6731-9386 (DID) Fax: (65) 6734-6951 Email: long_lian_ming@nea.gov.sg |  |  |