NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

| 1. | Notifying Member: Australia If applicable, name of local government involved (Article 3.2 and 7.2): |  |  |
| --- | --- | --- | --- |
| 2. | Agency responsible: Australian Government Department of Resources, Energy and Tourism GPO Box 1564 Canberra ACT 2601 Australia Tel: +61 2 6276 1000 E-mail: ret@ret.gov.au Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: TBT Enquiry Point Australian Government Department of Foreign Affairs and Trade Canberra ACT 2601 Australia Tel: +61 2 6261 1202 E-mail: TBT.Enquiry@dfat.gov.au |  |  |
| 3. | Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], other: |  |  |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Air Conditioners and Heat Pumps (HS: Air Conditioners: 8415.10, Heat pumps: 8418.61). Reversible heat pumps comprising a motor-driven fan and elements for changing both the temperature and the humidity: 8415.81; ICS: 23.120, 27.080). |  |  |
| 5. | Title, number of pages and language(s) of the notified document: Greenhouse and Energy Minimum Standards (Air Conditioners and Heat Pumps) Determination 2012 (13 pages, in English) |  |  |
| 6. | Description of content: Note: This Determination is for a product that was previously regulated by the states and territories as part of the Equipment Energy Efficiency (E3) Program. This Determination simply transitions existing requirements from state and territory legislation to nationally-consistent legislation. No new products have been regulated in this process, nor have new requirements been imposed or new test standards adopted. Under the Greenhouse and Energy Minimum Standards (GEMS) Act 2012, the Australian Government can set mandatory minimum efficiency performance standards (MEPS) and energy rating label (ERL) requirements for electrical equipment and appliance products. These requirements are set out in legislative instruments called GEMS determinations. Technical requirements for MEPS and ERLs are set out in the relevant Australian Standards, which are published by Standards Australia. Under the GEMS Act, if a product is: - covered by a GEMS determination; - manufactured in or imported into Australia; and - made available for sale on or after the date that the relevant GEMS Determination enters into force, then this product must meet the requirements set out in the relevant determination. The Greenhouse and Energy Minimum Standards (Air Conditioners and Heat Pumps) Determination 2012 establishes minimum energy efficiency and product performance requirements, and associated requirements for conducting tests, for air conditioners and heat pumps. Standards for air conditioners and heat pumps called up in the Determination are: - Joint Australian/New Zealand Standard AS/N//NZS 3823.1.1:1998 Performance of electrical appliances - air conditioners and heat pumps - Part 1.1: Non-ducted air conditioners and heat pump testing and rating for performance - Joint Australian/New Zealand Standard AS/N//NZS 3823.1.1:2012 Performance of electrical appliances - air conditioners and heat pumps - Part 1.1: Non-ducted air conditioners and heat pumps - testing and rating for performance - Joint Australian/New Zealand Standard AS/N//NZS 3823.1.2:2001 Performance of electrical appliances - air conditioners and heat pumps. Part 1.2: Test methods ducted air conditioners and air-to-air heat pump Testing and rating for performance - Joint Australian/New Zealand Standard AS/N//NZS 3823.1.2:2012 Performance of electrical appliances - air conditioners and heat pumps - part 1.2: test methods - ducted air conditioners and heat pumps - testing and rating performance - Joint Australian/New Zealand Standard AS/N//NZS 3823.1.3:2005 Performance of electrical appliances - air conditioners and heat pumps. Part 1.3: Water-source heat pumps Water-to-air and brine-to-air heat pump Testing and rating of performance - Joint Australian/New Zealand Standard AS/N//NZS 3823.2:2011 Performance of electrical appliances - air conditioners and heat pumps. Part 2: Energy labelling and minimum energy performance standards (MEPS) requirements - Joint Australian/New Zealand Standard AS/N//NZS 4776.1.1:2008 Liquid-chilling packages using the vapour compression cycle - Part 1.1: Method of rating and testing performance - Rating - Joint Australian/New Zealand Standard AS/N//NZS 4965.1:2008 Performance of close control air conditioners - Part 1: Testing for rating. |  |  |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: The objectives of the GEMS Act are to: - drive greater energy efficiency for regulated products; and - ensure that consumers can make informed choices to improve energy efficiency and reduce energy consumption, energy costs and greenhouse gas emissions. The legislation also gives effect to commitments made under the United Nations Framework Convention on Climate Change (UNFCCC). |  |  |
| 8. | Relevant documents: The relevant Standards are available from Standards Australia at: http://infostore.saiglobal.com/store/details.aspx?ProductID=374874 http://infostore.saiglobal.com/store/details.aspx?ProductID=1524332 http://infostore.saiglobal.com/store/details.aspx?ProductID=374902 http://infostore.saiglobal.com/store2/details.aspx?ProductID=1524333 http://infostore.saiglobal.com/store/details.aspx?ProductID=374946 http://infostore.saiglobal.com/store/details.aspx?ProductID=1489440 http://infostore.saiglobal.com/store/details.aspx?ProductID=1022453 http://infostore.saiglobal.com/store/details.aspx?ProductID=1022455 |  |  |
| 9. | Proposed date of adoption: Proposed date of entry into force: |  | 1 October 2012 1 October 2012 |
| 10. | Final date for comments: 60 days from date of notification |  |  |
| 11. | Text available from: National enquiry point [X], or address, telephone and fax numbers, e-mail and web-site addresses, if available of the other body: The text of the Greenhouse and Energy Minimum Standards Act 2012 can be found at: http://www.comlaw.gov.au/Details/C2012A00132 The Greenhouse and Energy Minimum Standards (Air Conditioners and Heat Pumps) Determination 2012 can be found at: http://www.comlaw.gov.au/Details/F2012L02129 |  |  |