NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

| 1. | Notifying Member: United States of America If applicable, name of local government involved (Article 3.2 and 7.2): |  |  |
| --- | --- | --- | --- |
| 2. | Agency responsible: Office of Energy Efficiency and Renewable Energy (OEERE), Department of Energy (DOE) [879] Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: |  |  |
| 3. | Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], other: |  |  |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Direct heating equipment and pool heaters. Environmental protection (ICS 13.020), Domestic, commercial and industrial heating appliances (ICS 97.100). |  |  |
| 5. | Title, number of pages and language(s) of the notified document: Energy Conservation Program for Consumer Products: Test Procedures for Direct Heating Equipment and Pool Heaters (20 pages, in English). |  |  |
| 6. | Description of content: The U.S. Department of Energy (DOE) proposes to revise its test procedures for direct heating equipment and pool heaters established under the Energy Policy and Conservation Act. This rulemaking will fulfill DOE's statutory obligation to review its test procedures for covered products at least once every seven years. For direct heating equipment, the proposed amendments would add provisions for testing vented home heating equipment that utilizes condensing technology, and to incorporate by reference six industry test standards to replace the outdated test standards which are referred to in the existing DOE test procedure. These industry standards reflect the current practice in test set-up and test conditions for testing direct heating equipment. For pool heaters, the proposed amendments would incorporate by reference ANSI/Air-conditioning, Heating, and Refrigeration Institute (AHRI) Standard 1160-2009, "Performance Rating of Heat Pump Pool Heaters", and ANSI/American Society of Heating, Refrigerating, and Air-conditioning Engineers (ASHRAE) Standard 146- 2011, "Method of Testing and Rating Pool Heaters," to establish a test method for electric pool heaters (including heat pump pool heaters). The proposed amendments would also clarify the test procedure's applicability to oil-fired pool heaters. DOE is also announcing a public meeting to discuss and receive comments on issues presented in this test procedure rulemaking. |  |  |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: Protection of the environment |  |  |
| 8. | Relevant documents: 78 Federal Register (FR) 63410, 24 October 2013; Title 10 Code of Federal Regulations (CFR) Part 430. Will appear in the Federal Register when adopted. |  |  |
| 9. | Proposed date of adoption: Proposed date of entry into force: |  | To be determined To be determined |
| 10. | Final date for comments: 7 January 2014 |  |  |
| 11. | Text available from: National enquiry point [ ], or address, telephone and fax numbers, e-mail and web-site addresses, if available of the other body: http://www.gpo.gov/fdsys/pkg/FR-2013-10-24/html/2013-24352.htm http://www.gpo.gov/fdsys/pkg/FR-2013-10-24/pdf/2013-24352.pdf |  |  |