NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

| 1. | Notifying Member: Israel If applicable, name of local government involved (Article 3.2 and 7.2): |  |  |
| --- | --- | --- | --- |
| 2. | Agency responsible: Israel WTO-TBT Enquiry Point Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: Israel WTO-TBT Enquiry Point Ministry of Industry, Trade and Labor Tel.: + (972) 3 7347502 Fax: + (972) 3 7347626 E-mail: Yael.Friedgut@moital.gov.il |  |  |
| 3. | Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], other: |  |  |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Electric cables, cords and insulated conductors (HS: 8544.42, 8544.49 and 4421.90; ICS: 29.035.20 and 29.060.20). |  |  |
| 5. | Title, number of pages and language(s) of the notified document: Polyvinyl chloride insulated cables of rated voltages up to and including 450/750V: Flexible cables (cords) (8 pages in Hebrew, and 24 pages in English). |  |  |
| 6. | Description of content: Revision of the Mandatory Standard SI 60227 part 5. This draft standard revision adopts the International Standard IEC 60227-5 - Edition 3.0: 2011-09. The major differences between the old version and this new revised draft standard are as follows: - Changes paragraph 1.2 dealing with the normative references; - Adds measurements for flat tri-cord cable in Table 7 of paragraph 5 dealing with light polyvinyl chloride sheathed cord; - Changes the headings of Table 9 in paragraph 6 dealing with ordinary polyvinyl chloride sheathed cord, and adds new requirements for conductor's nominal transect area of 0.5mm2; - Adds measurements for flat tri-cord cable in Table 11 of paragraph 7 dealing with heat resistant PVC-sheathed cord for a maximum conductor temperature of 900C; - Changes the headings of Table 9 of paragraph 8 dealing with heat resistant ordinary PVC-sheathed cord for a maximum conductor temperature of 900C, and adds new requirements for conductor's nominal transect area of 0.5mm2. In this table it also changes the rated insulation thickness for conductors with rated transect area of 1.5mm2 to from 0.7mm to 0.6mm and changes the rated insulation thickness for conductors with rated transect area of 2.5mm2 to from 0.8mm to 0.7mm. |  |  |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: Protection of human safety and lowering of trade barriers. |  |  |
| 8. | Relevant documents: ƒ - Israel Mandatory Standard SI 60227 part 5 (May 2011); - International Standard IEC 60227-5 - Edition 3.0: 2011-09. |  |  |
| 9. | Proposed date of adoption: Proposed date of entry into force: |  | To be determined 90 days after publication in the Official Gazette, Section of Government Notices |
| 10. | Final date for comments: 60 days from date of notification |  |  |
| 11. | Text available from: National enquiry point [X], or address, telephone and fax numbers, e-mail and web-site addresses, if available of the other body: http://www2.moital.gov.il/cmstamat/rsrc/tkina/SI60227Part1.pdf |  |  |