NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

| 1. | Notifying Member: republic of korea If applicable, name of local government involved (Article 3.2 and 7.2): |  |  |
| --- | --- | --- | --- |
| 2. | Agency responsible: Ministry of Food and Drug Safety Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: Documents are available from the Ministry Food and Drug safety website (http://www.mfds.go.kr). Also available from: International Cooperation Office Ministry of Food and Drug Safety 187 Osongsaengmyeong2-ro, Osong-eup, Cheongwon-gun, Chungcheongbuk-do, 363-700 Republic of Korea Tel: (+82) 43 719-1564 Fax: (+82) 43-719-1550 Email: wtokfda@korea.kr |  |  |
| 3. | Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], other: |  |  |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Medical devices. |  |  |
| 5. | Title, number of pages and language(s) of the notified document: Standards and Specifications for Electrical Mechanical Safety of Medical Devices (407 pages, available in Korean). |  |  |
| 6. | Description of content: Clarify and establish performance and safety requirements for medical electrical equipment and medical electrical systems to enhance their safety, and harmonize domestic regulations with international standards. Applied International Standards: - IEC 60601-1-3:2008 Medical electrical equipment - Part 1-3: General requirements for basic safety and essential performance - Collateral standard: Radiation protection in diagnostic X-ray equipment; - IEC 60601-1-6:2010 Medical electrical equipment - Part 1-6: General requirements for basic safety and essential performance - Collateral standard: Usability; - IEC 60601-1-8:2012 Medical electrical equipment - Part 1-8: General requirements for basic safety and essential performance - Collateral Standard: General requirements, tests and guidance for alarm systems in medical electrical equipment and medical electrical systems; - IEC 60601-1-10:2012 Medical electrical equipment - Part 1-10: General requirements for basic safety and essential performance - Collateral Standard: Requirements for the development of physiologic closed-loop controllers. - IEC 61010-1:2001 Safety requirements for electrical equipment for measurement, control, and laboratory use Part 1: General requirements. - ISO 14708-1:2000 Implants for surgery - Active implantable medical devices - Part 1: General requirements for safety, marking and for information to be provided by the manufacturer. |  |  |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: Protection of consumers and promotion of public health. |  |  |
| 8. | Relevant documents: The Ministry of Food and Drug Safety Advance Notice No. 2013-301, 31 December 2013 (available in Korean) |  |  |
| 9. | Proposed date of adoption: Proposed date of entry into force: |  | To be determined To be determined |
| 10. | Final date for comments: 60 days from date of notification. |  |  |
| 11. | Text available from: National enquiry point [X], or address, telephone and fax numbers, e-mail and web-site addresses, if available of the other body: Technical Barriers to Trade(TBT) Division Korean Agency for Technology and Standards (KATS) 96 Gyoyukwongil, Gwacheon-si, Gyeonggi-do, Rep. of Korea 427-716 Tel.: (+82) 2 509 7258/7259 Fax: (+82) 2 507 1924 E-mail: tbt@kats.go.kr Website: http://www.knowtbt.kr http://members.wto.org/crnattachments/2014/tbt/KOR/14_0051_00_x.pdf |  |  |